## Slide 1
Multi ESD Monitoring System Software for DSF602

## Slide 2
1. ESD Field meter function
Static Voltage by ESD Sensor
ESD Charge
Abnormal discharge
Abnormal Discharge
ESD Charge

## Slide 3
2. Ion Balance monitoring function for Ionizer
With plate onto the ESD Sensor
Induction by Ionizer
Natural Unbalance

## Slide 4
3. Decay check monitoring function for Ionizer
With plate onto the ESD Sensor and Charge unit
Normal Decay
Normal Decay
No Decay

## Slide 5
Block 1
Block 1
Block 2
Block 3
Block 4
Block 5
Block 6
Block 7
Block 8
Block 9
Block 10
LOCATION
CH1
CH2
CH3
CH4
CH5
CH6
CH7
CH8
PEAK: +501V
Real ESD Solutions & New Technology
Version. 770220
SETTING
ALARM
LABEL
NETWORK
DATA
MODE
LANGUAGE
LOG IN
MAP
VIEW
Multi ESD Monitoring System Software for DSF602
PEAK: +426V / -8V
CHARGE
ALARM
ON
OFF
DATA
DECAY: --- sec
DECAY TO: 100V
PEAK: +426V / -8V
CHARGE
ALARM
ON
OFF
DATA
DECAY: 1.3 sec
DECAY TO: 100V
MAC address is input into each CONTROL PCB

## Slide 6
Block 1
Block 1
Block 2
Block 3
Block 4
Block 5
Block 6
Block 7
Block 8
Block 9
Block 10
LOCATION
CH1
CH3
CH5
CH6
CH7
CH8
CH4
PEAK: +501V
Real ESD Solutions & New Technology
Version. 770220
SETTING
ALARM
LABEL
NETWORK
DATA
MODE
LANGUAGE
LOG IN
MAP
VIEW
Multi ESD Monitoring System Software for DSF602
CH2

## Slide 7
Block 1
Block 1
Block 2
Block 3
Block 4
Block 5
Block 6
Block 7
Block 8
Block 9
Block 10
LOCATION
CH3
CH5
CH6
CH7
CH8
CH2
CH4
PEAK: +501V
Real ESD Solutions & New Technology
Version. 770220
SETTING
ALARM
LABEL
NETWORK
DATA
MODE
LANGUAGE
LOG IN
MAP
VIEW
Multi ESD Monitoring System Software for DSF602
CH1
PEAK: +426V / -8V
CHARGE
ALARM
ON
OFF
DATA
DECAY: 1.3 sec
DECAY TO: 100V

## Slide 8
Block 1
Block 1
Block 2
Block 3
Block 4
Block 5
Block 6
Block 7
Block 8
Block 9
Block 10
LOCATION
Version. 770220
VIEW
Multi ESD Monitoring System Software for DSF602
No.3
No.4
No.5
No.6
No.7
No.8
PEAK: +501V
SETTING
ALARM
LABEL
NETWORK
DATA
MODE
LANGUAGE
LOG IN
MAP
Real ESD Solutions & New Technology
No.1
No.2
PEAK: +426V / -8V
CHARGE
ALARM
ON
OFF
DATA
DECAY: 1.3 sec
DECAY TO: 100V
PEAK: +426V / -8V
CHARGE
ALARM
ON
OFF
DATA
DECAY: 1.3 sec
DECAY TO: 100V

## Slide 9
Block 1
Block 1
Block 2
Block 3
Block 4
Block 5
Block 6
Block 7
Block 8
Block 9
Block 10
LOCATION
Version. 770220
VIEW
Multi ESD Monitoring System Software for DSF602
CH3
No.5
CH6
No.7
No.8
CH4
PEAK: +501V
SETTING
ALARM
LABEL
NETWORK
DATA
MODE
LANGUAGE
LOG IN
MAP
Real ESD Solutions & New Technology
CH2
PEAK: +426V / -8V
CHARGE
ALARM
ON
OFF
DATA
DECAY: 1.3 sec
DECAY TO: 100V
CH1
PEAK: +426V / -8V
CHARGE
ALARM
ON
OFF
DATA
DECAY: 1.3 sec
DECAY TO: 100V
Each wave can move on the screen.
Main 2 wave can be shown as big size.
With clicking the wave as alarm, automatically shows as big size.
Alarm(ON/OFF) button, CHARGE button, DATA button, Voltage scroll, Time scroll shows only big size
View mode
1: Big size x 2＋ Small size x 6
2: Same size x 8
3: Big size x 1 ＋ Small size x 7
Show “Block name”

## Slide 10
CH1
PEAK: +426V / -8V
CHARGE
ALARM
ON
OFF
DATA
DECAY: 1.3 sec
DECAY TO: 100V
Monitoring point (Sensor address) number
[LABEL]: can be changed actual name
Peak voltage shows for ＋ / -
DECAY TIME indication (After Charge command, check the Peak voltage, and show the decay time by software.
Decayed voltage.
Set by Software.
(Initial voltage is 100V)
Setting of Alarm ON/OFF
Show light color that is set now.
Alarm set from Setting.
Charge command button.
When start to charge, show [You start to charge, OK?] for confirmations message.
Alarm (Threshhold) setting bar.
Only as +/- Absolute value (絶対値).
Time range adjust bar
With sliding, can change the range .
Initial value is 30 seconds, Minimum is 5 seconds.
Voltage rang bar.
With sliding, can change the range.
Initial value is feed back by sensor (2KV)
Data output: Show the data file that shows now.
Wave details

## Slide 11
Block 1
Block 2
Block 3
Block 4
Block 5
Block 6
Block 7
Block 8
Block 9
Block 10
LOCATION
Location: Show as Each Control PCB as each BLOCK with 8 sensors.
Reason: Easy to control and operation.
Maximum 10 PCM as 80 sensors.
The name of Each BLOCK can be changed by LABEL Command. (文字数制限)
Tools
SETTING
ALARM
LABEL
NETWORK
DATA
MODE
LANGUAGE
LOG IN
MAP
The color of Block that is operating is different
With RED colored as Alarm point.
LOG IN: Initial setting(Voltage/Charging), Alarm set. Only authorized person can set with pass word.
Initial Pass: 0000
Set the Mode: Measure/Charge select.
MAC ID setting for each sensors.
TOOL BAR display as multi task operation.
LABEL: each LOCATION name, Measuring point(Sensor address) naming change.
As clicking, LOCATION name select mode.
ALARM setting button.
As clicking, show the view of LOCATION, and after select LOCATION, show the display each measuring points.
Direct list of 80 points of sensor
NETWORK Setting: IP address, etc
ENGLISH/CHINESE
Open the data file.
Decay Setting: Decay voltage setting, Caution indication when Charging start. ON/OFF
Automode ( Auto Decay test as Fixed time)
Connecting with machine (ESDA evacuation)
0 Reset (N/A for voltage mode)
Auto(time, date)/Manual

## Slide 12: LOCATION Map
Location (Block) | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8
Machine 1 | Loading 1 | Testing 1 | Unloading 1 | Ionizer #1 IB | Ionizer #1 Decay | Ionizer #2 IB | Ionizer #2 Decay | Ionizer #3 Decay
Machine 2 | Loading 2 | Testing 2 | Unloading 2 | Ionizer #4 IB | Ionizer #4 Decay | Ionizer #5 IB | Ionizer #5 Decay | Ionizer #6 Decay
Machine 3 | Loading 3 | Testing 3 | Unloading 3 | Ionizer #7 IB | Ionizer #7 Decay | Ionizer #8 IB | Ionizer #8 Decay | Ionizer #9 Decay
Machine 4 | Loading 4 | Testing 4 | Unloading 4 | Ionizer #10 IB | Ionizer #11 Decay | Ionizer #11 IB | Ionizer #11 Decay | Ionizer #12 Decay
Assembly line 1 | Ionizer #13 IB | Ionizer #13 Decay | Ionizer #14 IB | Ionizer #14 Decay | Ionizer #15 IB | Ionizer #15 Decay | Ionizer #16 Decay | Ionizer #17 Decay
Assembly line 2 | Operator 1 | IC tray 1 | Ionizer #18 Decay | Ionizer #19 IB | Ionizer #19 Decay | Ionizer #20 Decay | Ionizer #21 Decay | Ionizer #22 Decay
Test process 1 | Loading 5 | Testing 5 | Ionizer #23 IB | Ionizer #23 Decay | Ionizer #24 IB | Ionizer #24 Decay | Ionizer #25 Decay | Ionizer #26 Decay
Test Process 2 | Loading 6 | Testing 6 | Unloading 6 | Ionizer #27 IB | Ionizer #27 Decay | Ionizer #28 IB | Ionizer #28 Decay | Ionizer #29 Decay
Conveyer 1 | SMT Ionizer #1 IB | SMT Ionizer #1 Decay | SMT Ionizer #2 IB | SMT Ionizer #2 Decay | IC TEST Ionizer #3 IB | IC TEST Ionizer #4 IB | Cassette Ionizer #1 Decay | Cassette Ionizer #1 Decay
Conveyer 2 | Loading | Ionizer #1 IB | Ionizer #1 Decay | Ionizer #2 IB | Ionizer #2 Decay | Ionizer #3 Decay | Ionizer #2 Decay | Ionizer #3 Decay
SETTING
ALARM
LABEL
NETWORK
DATA
MODE
LANGUAGE
LOG IN
MAP

## Slide 13: Data output

## Slide 14
Error Flow of Software
Assumed Error① Voltage Measuring Mode・IB Mode
Sensor Issue
Sensor PCB
Error 9
Sensor Disconnected
Cable Disconnected
Unable to measure
Sensor PCB Disconnected
Sensor PCB
PCB Cable Disconnected
Sensor CH doesn’t set
No Initial setting Complete
Not completed sensor CH setting
Available to Judgement?
Sensor Issue or Disconnect
Cable disconnect
PCB Cable Disconnected

## Slide 15
Assumed Error② Decay Mode
Sensor Issue
Less Charging
Error 9
Voltage Leaking from Plate
Charging Issue
Unable calculation
Powerful Ionizer around
Abnormal Charging
Calculation issue
判定不能、by 印可 or Peak電位
除電機能確認不能
判別可能？
Sensor故障
減衰到達電位、設定電圧未到達(IB不良)
印可以前電位大
Error Flow of Software